## Slide 1: Chapter 04 :Work on various technological supports/ 01
Part One: PLCs
Anglais Et Automatique, L3 A.I.I
By Y.HIMOUR (y.himour@gmail.com)

## Slide 2: Understanding a video tutorial about PLCs
Watch the video without subtitles at least three times,
Watch the video with subtitles until catching all the words,
Understand the difficult words and technical terms,
Answer the questions.
(The subtitles file is accompanied with this lecture, find the video file on https://www.youtube.com/watch?v=iWgHqqunsyE )

## Slide 3: Difficult words and technical terms
PLC: Programmable Logic Controllers (Automate programmable)
1. A controller, usually with multiple inputs and outputs, that contains an alterable program. [ANSI/ISA-5.1-1984 (R1992)]
2. A microcomputer-based control device that is used to replace relay logic.
3. A solid-state control system that has a user-programmable memory for storing instructions for the purpose of implementing specific functions such as I/O control, logic, timing, counting, three mode (PID) control, communication, arithmetic, and data and file manipulation.
Relay (Relais) Refers specifically to an electric, pneumatic, or hydraulic switch that is actuated by a signal.
Rack (Support ) A frame (Cadre) for holding different modules of a PLC.

## Slide 4
Ladder diagram A diagram used to program a programmable controller. Power flows through a network of relay contacts that are arranged in horizontal rows called "rungs" between two vertical rails on the side of the diagram that contains the symbolic power. The basic program elements are contacts and coils as in electromechanical logic systems.
Volatile (volatil) Se dit des mémoires dont le contenu disparait lorsque l’alimentation électrique est coupée.
Housekeeping (sens linguistique: ménagère) The housekeeping tasks include communication with external devices and hardware diagnostics.
Device (Appareil, dispositif, méchanisme)
Hardware (Matériel) « par opposition » Software (Logiciel)
Behavior (Comportement)
Assembly lines (lignes d’assemblage)
Bottling lines (lignes d’embouteillage)
Waste water treatment (Traitement des eaux usées)
Machining (usinage)

## Slide 5
Evolved (Elaboré) : Evolve (Elaborer, Evoluer)
Outcome (résultat, fin, issue)
Switch (Interrupteur, Commutateur, bouton électrique)
Versatile (Versatile, universel, polyvalent)
Valves (Vannes)
Rung (Barreau, traverse, echelon)
Coil (Spire, Bobine)
Troubleshooting (dépannage)
Envision(Envisager, prévoir, imaginer)

## Slide 6: Answer these questions:
What a PLC stands for?……………………………………………………………………………………………………………..………………………….
What a PLC is used for?…………………………………………………………………………………………………………………….……………………
Cite some PLC applications.…………………………………………………………………………………………………………………………………… ………………… …………………………………………………………………………………………………………………………………………………………..
What is the original name of a PLC? ……………………………………………………………………………………………………………………..
Compared to relay-based control systems, give some advantages introduced by the Mobicon? …………………………………… ………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………….(2.25-29)

## Slide 7
What are principal elements of a PLC, and what are their tasks?
…………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………..................................................................................................................................................................
What is a ladder logic?…………………………………………………………………………………………………………………………………………………
Give the steps to execute a program in a PLC.
………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………